Determination of the Earth tide constituents generated by the tidal potentials of degree 3 and 4 for large series of observations made by superconducting gravimeters.

A.P.Venedikov1, B. Ducarme2

1 Geophysical Institute, Bulgarian Academy of Sciences, Acad. Bonchev street block 3, Sofia 1113, vened@geophys.bas.bg

2 Royal Observatory of Belgium (Belgian National Fund for Scientific Research), Av.Circulaire 3, B-1180 Brussels, ducarme@oma.be

Abstract.  According to the theory of the tidal deformation, the Earth has different responses to the tide generating potentials P2, P3 and P4, of degree 2, 3 and 4 respectively. Usually, the study of the reaction to P3 and P4 is restricted to the separation of the higher frequency tidal groups M3, generated mainly by P3 and M4, generated by P4. This paper is an attempt to estimate the parameters of the P3 and P4 waves within the diurnal and semi-diurnal tidal bands, as well as the P4 waves within the third diurnal band. The numerical results are derived from the analysis of six large series of very high quality gravity tidal data. Some of these results are obtained and published for the first time in the tidal domain. In particular, the separation of the new tidal group 4TD is the first determination of P4 tides outside the P4 group M4. In addition, the estimates of 4TD appeared to be considerably more reliable than the estimates of M4.

Key words:  Earth tides, tide generating potential, Tamura tidal potential, tidal analysis.

1. Introduction.

The tide generating potential P is an infinite series of spherical harmonics, like

P=P2+P3+P4+ ... ,	(1)

where the term Pk is called potential of degree k. The energy is quickly decreasing with k, so that the terms with k>4 have no practical importance.

Fig. 1 represents the spectrum of the tidal gravity variations (vertical component of grad P), obtained through the development of P in trigonometric series. The spectrum is partitioned into components, generated by P2, P3  and P4.

Each line in Fig. 1 represents a cosine wave, called a tide. The so-called development of Tamura (1987), used here, includes 1200 tides. The plotted magnitude is proportional to h14, where h is the amplitude of the tide. This scale has been chosen in order to amplify the small amplitudes and make them visible. The actual ratio between the amplitudes of the main lunar tides M2, M3 and M4 is h(M2) : h(M3) : h(M4)= 5584 : 78 : 1.

All tides are clearly separated in 5 main tidal species: LP (long period), D (diurnal), SD (semidiurnal), TD (third diurnal) and QD (quarter diurnal) tides. We have the following distribution of the P2, P3  and P4 tides:

P2 generates only LP, D and SD tides, which are the most important constituents;

P3 generates some LP, D and SD tides, as well as nearly all TD tides;

P4 generates some LP, D, SD and TD tides, as well as all QD tides.

Here we shall not deal with the LP species, because they are eliminated with the drift in the computation procedure.

According to the classical theory of Love for the tidal deformation, the reaction of the Earth to P2, P3 and P4 is different. If δ(Pk) is the gravity amplitude factor related to Pk we have, roughly,

δ(P2):δ(P3):δ(P4)=1.16 : 1.07 : 1.04,

i.e., more generally, δ(P2)>δ(P3)>δ(P4).	(2)

There is no problem to get δ(P4) separately for the QD tidal species, generated entirely by P4. It is, however, a problem to get δ(P3) and δ(P4) in the D, SD and TD bands, where tides generated by different degrees of the potential are mixed up.

The relation (2) generates a problem for the tidal analysis. As shown in the next part, the analysis deals with groups of tides, about which we suppose that the factor δ is one and the same. Since P2, P3 and P4 tides fall in the same group, this assumption is not correct. Schüller suggested modulating the theoretical amplitudes of the P3 tides as a function of (P3)/(P2) and dealing with them as if they are generated by P2. This solution has been implemented in all the tidal analysis methods (Wenzel, 1994; Venedikov & al., 1997a).

Dittfeld (1991) has shown that this correction is insufficient. He observed significant time variations in the SD tidal group L2 due to the coexistence in L2 of P2 and P3 tides.

Melchior & al. (1996) have used a very large tidal series, which allows separating some P3 tidal groups in own groups, without other modifications of the analysis procedure. Thus they obtained the first estimates about the tidal parameters of the D and SD tides, generated by P3.

In (Venedikov et al., 1997b) a new model of the tidal signal has been suggested. It allows getting separately all D and SD tides generated by P3. The aim of the present paper is to give some new results of both P3 and P4 tides, obtained by the new program VAV (Venedikov et al., 2001)

2. Modelling the tidal signal and grouping the tides depending on the degree of the potential.

Most of the methods for Earth tide data analysis, namely (Chojnicki, 1973, Schüller, 1977, Tamura et al., 1991, Wenzel, 1994), have used the model of the tidal signal, suggested by Venedikov (1961, 1966). This model is based on the general representation of the signal s(t) at time t as

s(t)=ReωAωHωExp(iΦω(t)).	(3)

Here ω is a frequency of a tidal wave,Hω is a theoretical amplitude and Φω(t) is a theoretical phase at time t. The ω, Hω and Φω(t) are well known quantities, derived from the development of the tide generating potential. The coefficient

Aω=δωExp(iκω)	(4)

is the admittance function, describing the reaction of the Earth and the instrumentation to a tide with frequency ω. Its elements δω, called amplitude factor, and κω, called phase shift, are unknown quantities.

The classical harmonic analysis uses as unknowns the observed amplitude hω=δωHω and the observed phase ϕω(0)=Φω(0)+κω of each wave. The inconvenience of these unknowns is that their number is excessively large.

In the same time, according to the theory and the practice, δω and κω are only slowly depending on ω and, actually, we have only a restricted number of really different δω, as well asκω. In this connection the model referred above is based on the assumption that there are m intervals w1, w2, ... wm of ω such that

Aω=ξg−iηg=const. for all  ω∈wg, but different for g=1, 2, ... m.	(5)

Fig. 2.a. shows a possible selection of such intervals.

By using (5), the expression (3) can be replaced by

s(t)=Reg=1m(ξg−iηg)ω ∈ wgHωExp (iΦω(t)).	(6)

In such a way the enormous number of classical unknowns could be replaced by a moderate number of 2m unknowns ξg and ηg.

It has been accepted to say that all tides with ω belonging to a given interval wg form a tidal group, with the name, usually, of the main tide of the group, as shown in Fig. 2.a.

If Ωg and Ωg+1 are the frequencies of the most important tides in the neighboring intervals wg and wg+1 it is considered to be necessary that

Ωg+1−Ωg ΔT≥2π ,	(7)

where ΔT is the time interval of the tidal record. This rule is taken from the theory of the discrete Fourier series. However, it appeared that it should not be strictly observed for particular pairs of tidal groups. The groups in Fig. 2.a. are chosen according to this rule for ΔT corresponding to rather short records length of 1 month or so.

For data of high precision the definition of the groups simply as intervals is not satisfactory. In one interval may fall tides of origin P2, P3 and P4, which do not satisfy the assumption (5).

Our general idea to escape from the situation is to define wg as suitably chosen sets of ω, for which the assumption (5) remains reasonable. Thus the groups defined in a way similar to Fig. 2.a should be applied only for the P2 tides. Those generated by P3 and P4 should be extracted to form additional groups. Fig. 2.b shows two variants of creating P3 groups. Some P4 groups will be shown somewhat later.

In this way of creating our model, the commensurability rule (7) cannot be applied to two groups generated by different Pk, because such groups are parallel. The decision to separate such groups should be taken after numerical experimentation.

3. Data selection.

In principle, the separation of the groups P3 and P4 is interesting only for large series of data of very high quality. One of the reasons is that these groups are mixed with the different P2 groups , which makes the separation problematic. Another reason is that the amplitudes of the P3 and P4 constituents are much lower than the power of theP2terms. Due to this the estimates of P3 and P4 groups are subject to a stronger effect of the noise. In accordance with these we have selected the largest series among the superconducting gravity data (Table 1.), collected by the Global Geodynamics Project (GGP) (Crossley, 2000) and carefully checked at the International Centre for Earth Tides (ICET) (Ducarme & Vandercoilden, 2000).

Table 1.  List of selected series of superconducting gravity data.

| Station Country | Instrument or sensor | Latitude Longitude | Time interval |
| --- | --- | --- | --- |
| Boulder USA | GWR CO24 | 40.13o 254.77o | 04.1995 -08.1998 |
| Brasimone Italy | GWR T015 | 44.12o 11.12o | 08.1995 -02.2000 |
| Brussels Belgium | GWR T003 | 50.80o 4.35o | 04.1982 -03.2000 |
| Cantley Canada | GWR T012 | 45.58o 284.19o | 11.1989 -12.1998 |
| Potsdam Germany | GWR T018 | 52.38o 13.07o | 06.1992 -10.1998 |
| Strasbourg France | GWR T005, GWR C026 | 48.62o 7.68o | 07.1987 -04.1998 |

The data have been analyzed by the VAV program (Venedikov et al., in print). One of the options of VAV is to find and eliminate automatically some data with anomalies and perturbations. Since our task needs an extremely high precision, we have used this option, described hereafter.

In the first stage of the processing VAV transforms the hourly data, i.e. the data from the time domain, in a time/frequency domain. This is made by applying filters on intervals of length ΔT, e.g. ΔT=48 hours and central epochs

T=T1, T2, ... TN , where Ti+1−Ti≥ΔT .	(8)

We can say that the data pass through a time window ΔT without overlapping.

Through this operation we get, for every epoch T in (8), the filtered numbers

Uk(Ω,T),  where k=1 for even filters	(9)

and Ω is a frequency, taking the values:

Ω=Ω1, Ω2, ... Ωm, where, usually, Ωj=j.15ohour.	(10)

At the second stage of the analysis the Uk(Ω,T) are treated by the Method of the Least Squares, which provides estimates of the tidal parameters. Then we can get the residuals ΔUk(Ω,T) of Uk(Ω,T) and frequency dependent m.s.d. (mean square deviations) σ(Ω) of Uk(Ω,T) (one and the same σ for both U1 and U2, as well as for all T). The m.s.d. σ(Ω) is used to define a threshold level tSσ(Ω) where tS is supposed to be a Student coefficient. We have used, somewhat deliberately, the classical tS=3 (the 3 sigma rule).

Fig. 3 is an example of the residuals, with the corresponding threshold level. Most important features in this picture are: (i) the noise is frequency dependent, steadily decreasing with the increasing of the frequency Ω and (ii) there are important anomalies, possibly not purely random, also frequency dependent.

Further, after these computations, VAV decides that if

ΔUk(Ω,Ti)≥tSσ(Ω)  (the threshold level) 	(11)

for k=1 or/and k=2, at least for one of the frequencies Ω, the data of the interval with epoch T=Ti should be eliminated in a next analysis.

This operation can be repeated automatically a given number of times, i.e. successive iterations, each time with new eliminated data. The initial analysis, with all data, is considered as zero iteration, the next one, with the first set eliminated data, as iteration 1, and so on. The iterations may be considered as successful, if the m.s.d. of the parameters are decreasing.

In Fig. 4 we show the residuals for the SD band at two iterations. The threshold level is considerably decreased, which means an increasing precision. The eliminated data are not shown on the curve. The rejection is particularly strong in the perturbed time interval (450,550) where nearly all data are eliminated.

Fig. 5.a also shows the existence of strong anomalies, concentrated at some intervals, in the data from Brussels, which are the longest ones. According to the eliminated blank intervals in Fig. 5.b., most of the perturbations are concentrated during the first two years of observation.

Fig. 6 and Fig. 7 give examples of the effect of the elimination procedure. In all cases the process is convergent. The improvement of the precision is not negligible, although the changes of the δ values are not very big. The grouping corresponds to variants 1 in Fig.2.b and Table 5.

Fig.7 shows the effect of the elimination for station Brussels on the analysis results. The picture is not identical to Fig. 6, but, in principle, it is not very different. Since the volume of the data is higher than in station Boulder, we needed more iterations to reach a convergence. The gain in relative precision Δσσ0 is lower but the initial m.s.d. were much lower.

4.  Results of the analyses.

4.1.  Determination of tidal groups generated by the 3rd degree potential.

We have tested the variants of grouping shown in Fig. 2.b. In order to draw valuable conclusions about the variants we have used the longest available series from station Brussels.

A problem to solve is the choice of the filters. After multiple analyses we have chosen: time window 48 hours and power of the eliminated drift polynomials k=3.

The results are given in Table 2. In both D and SD species the Akaike criterion (AIC) is slightly in favor of the grouping variant 1 compared to the variant 3, because AIC is slightly lower. Another simple fact is more convincing – that the estimated δ for the 3 groups are not significantly different except perhaps for 3MO1. Under these circumstances we have decided to follow the principle of parsimony – to give preference to the variant 1 with 2 unknowns instead of the variant 3 with 6 unknowns.

Table 2.  Station Brussels. Estimated amplitude factors  for groups generated by P3: variants 1 and 3 groups.

| Number of tides in the group | Symbol of Darwin | Amplit. Factor  | m.s.d. of  | AIC |
| --- | --- | --- | --- | --- |
| Variant 3 D groups |  |  |  |  |
| 29 | 3MK1 | 1.08284 | 0.00782 | 27 451 |
| 36 | 3M1 | 1.08060 | 0.00242 |  |
| 26 | 3MO1 | 1.09658 | 0.00663 |  |
| Variant 1 D group |  |  |  |  |
| 91 | 3D | 1.08243 | 0.00218 | 27 447 |
| Variant 3 SD groups |  |  |  |  |
| 25 | 3MJ2 | 1.06775 | 0.00745 | 22 370 |
| 25 | 3MK2 | 1.07317 | 0.00200 |  |
| 34 | 3MO2 | 1.07440 | 0.00206 |  |
| Variant 1 SD group |  |  |  |  |
| 84 | 3SD | 1.07355 | 0.00141 | 22 362 |

Table 3.  Estimated amplitude factor  for tidal groups generated by the potential of 3rd degree.

| Station | (3D) m.s.d. | (3SD) m.s.d. | (M3) m.s.d. |
| --- | --- | --- | --- |
| Boulder | 1.0617 0.0082 | 1.0600 0.0030 | 1.0759 0.0012 |
| Brasimone | 1.0810 0.0162 | 1.0750 0.0073 | 1.0702 0.0031 |
| Brussels | 1.0825 0.0022 | 1.0740 0.0014 | 1.0593 0.0014 |
| Cantley | 1.0736 0.0023 | 1.0894 0.0015 | 1.0782 0.0010 |
| Potsdam | 1.0858 0.0016 | 1.0661 0.0014 | 1.0721 0.0014 |
| Strasbourg | 1.0827 0.0020 | 1.0662 0.0010 | 1.0627 0.0010 |

Table 4.  Estimated phase shift  for tidal groups generated by the potential of 3rd degree.

| Station | (3D) m.s.d. | (3SD) m.s.d. | (M3) m.s.d. |
| --- | --- | --- | --- |
| Boulder | -0.023o 0.440 | 0.872o 0.160 | 0.161o 0.065 |
| Brasimone | -0.245 0.865 | 0.031 0.389 | -0.211 0.166 |
| Brussels | 0.429 0.115 | 0.247 0.074 | 0.384 0.076 |
| Cantley | -0.043 0.121 | 0.971 0.080 | -0.302 0.052 |
| Potsdam | 0.577 0.085 | -0.068 0.076 | 0.403 0.076 |
| Strasbourg | 0.884 0.106 | -0.194 0.053 | 0.244 0.057 |

The final results are displayed in Table 3 and Table 4. They give the estimates for the newly defined groups 3D and 3SD followed by the traditionally used group M3.

The amplitude factors do not differ significantly from the theory. The phase shifts in Table 4 show only small phase differences. For M3 attention should be paid to the influence of the air pressure wave S3 (Elstner & Schwahn, 1998, Schwahn, 1999). It could perhaps explain the coherent phase behavior of M3 for the stations in Western Europe. Oceanic loading influence could not be excluded.

4.2.  Determination of tidal groups generated by the 4th degree potential.

For P4 we have tested on the Brussels data the 6 variants of grouping shown in Table 5. All of them include the pure QD group called M4. In Variant 1 all P4 tides, outside QD tidal band, are included in one group 4DTD (from D, till TD). Variants 2, 3 and 4 are aimed to separate, in one or another way, the D and SD P4 tides. Unfortunately, these attempts were not successful. The next Variant 5 did not provide results much different from variant 1. Unlike these attempts, variant 6, with a single TD group, was very encouraging.

Table 5.  Variants for tidal groups generated by the potential of 4th degree; the symbol xxx means “not used”.

|  | D | SD | TD | QD |
| --- | --- | --- | --- | --- |
| Variant 1 | 4DTD |  |  | M4 |
| Variant 2 | 4DSD |  | 4TD | M4 |
| Variant 3 | 4D | 4SD | 4TD | M4 |
| Variant 4 | xxx | 4SD | 4TD | M4 |
| Variant 5 | xxx | 4STD |  | M4 |
| Variant 6 | xxx | xxx | 4TD | M4 |

Table 6.  Estimates of the amplitude factors  for tidal groups generated by the potential of 4th degree.

| Station | (4DTD) m.s.d. | (4TD) m.s.d. | (M4) m.s.d. |  | ETERNA (M4)/msd |
| --- | --- | --- | --- | --- | --- |
| Boulder | 0.9269 0.0891 | 0.9455 0.0551 | 1.1343 0.0479 |  | 1.1475 0.0650 |
| Brasimone | 1.8827 0.3232 | 1.9541 0.1588 | 1.0485 0.2027 |  | 1.7020 0.2607 |
| Brussels | 0.6261 0.0770 | 1.0055 0.0458 | 0.6805 0.0924 |  | 0.8349 0.1144 |
| Cantley | 1.2815 0.0733 | 0.9733 0.0339 | 0.8123 0.0432 |  | 0.8356 0.0634 |
| Potsdam | 1.0551 0.0707 | 1.0135 0.0509 | 0.4150 0.1019 |  | 0.3745 0.0964 |
| Strasbourg | 0.8958 0.0525 | 1.0356 0.0340 | 0.4454 0.0550 |  | 0.8001 0.1605 |

Finally, we have chosen to show only the δ factors of 4DTD, 4TD and M4, the last one only for Variant 6. These results are given in Table 6 and Table 7. The results about M4 are compared to the results obtained by the ETERNA 3.4 program.

Table 7.  Estimates of the phase shift  for tidal groups generated by the potential of 4th degree.

| Station | (4DTD) m.s.d. | (4TD) m.s.d. | (M4) m.s.d. |  | ETERNA (M4)/msd |
| --- | --- | --- | --- | --- | --- |
| Boulder | -1.375o 5.506 | -2.531o 3.337 | -0.623o 2.417 |  | 0.490o 3.248 |
| Brasimone | 5.433 9.834 | 2.268 4.655 | 24.455 11.068 |  | 12.198 8.776 |
| Brussels | -5.860 7.049 | -2.601 2.607 | 61.076 7.782 |  | 64.057 7.850 |
| Cantley | 5.102 3.276 | 6.675 1.999 | -25.649 3.046 |  | -31.388 4.350 |
| Potsdam | 1.369 3.837 | -2.976 2.878 | -4.089 14.066 |  | -4.946 14.746 |
| Strasbourg | -0.476 3.363 | 0.954 1.884 | 25.616 7.078 |  | -154.40 11.50 |

# These results are more controversial. The main reason is that the energy of the P4 constituents, especially in the D and SD bands, is very small. Due to this, we could not successfully separate the groups 4D and 4SD, as we did for the groups 3D and 3SD. Instead, the estimates of δ(4TD) seem to provide better information about the Earth response to P4 than the group M4. One of the reasons is that the P4 signal in the TD band, according to the development of Tamura, is stronger than in the QD band. It is also interesting that the phases of M4, obtained by both VAV and ETERNA programs, are rather abnormal and dispersed

# The results on M4 are thus rather disappointing although VAV and ETERNA give similar results. Besides the weakness of the tidal energy in QD band, it is probably due also to additional perturbations on the harmonics of the SD tides due to shallow oceanic tides or to pressure. It should be noted indeed that the most continental station Boulder gives the lowest associated mean square deviation. A phase advance is noticed in Brussels as well as in Strasbourg, which are both influenced by the North Sea and Irish Sea shallow water components.

  - Conclusions.

Till now, generally, the estimated δ(M3) used to confirm the theory about the Earth reaction toP3. Such an agreement was already observed in the first valuable determination of δ(M3) (Melchior et al., 1968). The values of δ(M3) in Table 3 confirm this result. It is important that the new δ(3D) and δ(3SD) are in accordance, more or less, with the results about M3. The low phase shifts in Table 4 are a good indication for the quality of the results in Table 3. The influence of the coherent pressure wave S3 has to be further studied and for some stations an oceanic loading contribution should not be excluded.

In the QD band external perturbations degrade the quality of the determination of M4. We can also think of oceanic tides and pressure. On the contrary, the phases of 4TD, with a small exception of Cantley, are not significantly different from zero, i.e. they are much better.

The conclusion is that the new group 4TD provides more reliable information about P4 than the classical group M4. According to our information, the P4 tides in the M3 band, i.e. the new group 4TD, are determined for the first time in tidal gravity records.

Our general conclusion is the following. It is difficult to say that our estimates of δ(P3) and δ(P4) confirm clearly any theoretical figures, in particular those, given by the first expression in (2). However, δ(P4)certainly confirms qualitatively the theory, by a general satisfaction of the second expression in (2), namely

δ(P2)>δ(P3)>δ(P4) .	(12)

Acknowledgments:  The authors wish to express their thanks to the Global Geodynamics Project (GGP) consortium which made available the data of its data bank. Special thanks go to the persons in charge of the different stations, besides Brussels, T.Van Dam for Boulder, G.Casula for Brasimone, J.Merriam for Cantley, H.J.Dittfeld, J.Neumeyer and B.Ritschel for Potsdam as well as J.Hinderer and J.P.Boy for Strasbourg. M.Hendricks was deeply involved in the maintenance of the GGP data bank and L.Vandercoilden in the data preprocessing and analysis.

Topical editor thanks I.Butchvarov and P.Stavrev for their help in evaluating this paper.

References:

Chojnicki, T., 1973. Ein Verfahren zur Erdgezeitenanalyse in Amlehnung an das Prinzip der kleinsten Quadrate, Mitt. Inst. Theor. Geod. Univ. Bonn, 15.

Crossley, D., 2000. Report on the status of GGP, Cahiers Centre Europeen Geodyn.Seism., 17, 1-7.

Dittfeld, H.-J., 1991. Analysis of third degree waves with diurnal and semidiurnal frequencies, Bull. d'Inform. Marées Terrestres, 111, 8053-8061.

Ducarme, B., Vandercoilden,  L., 2000.First results of the GGP data bank at ICET, Cahiers Centre Europeen Geodyn.Seism., 17, 117-124; Bull. d'Inform. Marées Terrestres, 132, 10291-10298.

Elstner, C., Schwahn, W.,1998. Precise mean parameters for daily and subdaily persistent air pressure waves at Potsdam for the period 1893-1992, Proc. 13th Int. Symp. on Earth Tides, Brussels, July 22-25, 1997.Observatoire Royal de Belgique, Série Géophysique.

Melchior, P., A.P.Venedikov, 1968. Derivation of the wave M3 (8h.279) from the periodic tidal deformations of the Earth, Phys.Earth Planet.Inter.,1, 363-372.

Melchior, P., B. Ducarme, O. Francis, 1996. The response of the Earth to tidal body forces described by second- and third- degree spherical harmonics as derived from a 12 year series of measurements with the superconducting gravimeter GWR/T3 in Brussels, Phys.Earth Planet.Inter.,93, 223-238.

Schüller, K., 1977. Tidal analysis by the hybrid least squares frequency domain convolution method, 8th Int. Symp. Earth Tides, Bonn, Inst. Theor. Geod. Univ. Bonn, 103-128.

Schwahn, W., 1999, The separation of the tides M3 and S3 by appropriate wave group formation with regard to modern potential developments: arguments for establishing a wave group S3, Bull. d'Inform. Marées Terrestres, 131, 10129-10138.

Tamura, Y., 1987. A harmonic development of the tide-generating potential, Bull. d'Inform. Marées Terrestres, , 99, 6813-6855.

Tamura, Y., T. Sato, M. Ooe, and M. Ishiguro, 1991. A procedure for tidal analysis with a Bayesian information criterion, Geoph. J.Int., 104, 507-516.

Venedikov, A.P., 1961. Application à l'analyse harmonique des observations des marées terrestres de la Méthode des moindres carrées, C. R. Acad. Bulg. Sci., v. 14, No 7, 671-674.

Venedikov, A.P., 1966. Une méthode d'analyse des marées terrestres à partir d'enregistrements de longueurs arbitraires, Acad.Roy.Belg., Bull.Cl.Sci., LIII, 3, 463-485.

Venedikov, A.P., R. Vieira, C. de Toro and J.Arnoso, 1997a. A new program developed in Madrid for tidal data processing, Bull. d'Inform. Marées Terrestres, 126, 9669-9704.

Venedikov, A.P., R. Vieira, and C. de Toro, 1997b. On the determination of the D and SD Earth tides generated by the tidal potential of the third order, Bull. d'Inform. Marées Terrestres, 126, 9635-9637.

Venedikov, A.P., J. Arnoso, R. Vieira, 2001. Program VAV/2000 for Tidal Analysis of Unevenly Spaced Data with Irregular Drift and Colored Noise, Journal Geod. Soc. of Japan (in press).

Wenzel, H.-G., 1994. Earth tide analysis package ETERNA 3.0. Bull d'Inform. Marées Terrestres, 118, 8719-8721.

Определяне на земноприливните вълни, породени от приливните потенциали от 3-а и 4-а степен, за продължителни серии от наблюдения на свръх проводящи гравиметри

А. П. Венедиков, Б. Дюкарм

Резюме.  Според теорията на приливната деформация на Земята, тя има различна реакция на приливните потенциали P2, P3 и P4 от степен 2, 3 и 4 съответно. Обикновено изучаването на реакцията на Земята на P3 и P4 се ограничава до отделянето на високочестотните приливни групи М3, породена от P3, както и М4, породена от P4. Настоящата статия е опит да се оценят приливните параметри, свързани с P3 и P4 в по-нискочестотните приливни области. Числените резултати са получени чрез анализ на шест продължителни серии от приливни гравиметрични наблюдения с особено високо качество. Някои от тези резултати са получени и се публикуват за първи път в приливната област. В частност, отделянето на новата приливна група 4TD е първото определяне на приливи от тип P4, вън от групата М4. При това оценките на 4TD се оказаха значително по-надеждни от тези на М4.